## Slide 1
Computer Networking
Lent Term M/W/F 11-midday
LT1 in Gates Building
Slide Set 7
Andrew W. Moore
andrew.moore@cl.cam.ac.uk
January2013

## Slide 2: Topic 7: The Datacenter (DC/Data Center/Data Centre/….)
Our goals:
Datacenters are the new Internet; regular Internet has become mature (ossified); datacenter along with wireless are a leading edge of new problems and new solutions
Architectures and thoughts
  Where do we start?
  old ideas are new again: VL2
  c-Through, Flyways, and all that jazz
Transport layer obsessions:
  TCP for the Datacenter (DCTCP)
  recycling an idea (Multipath TCP)
  Stragglers and Incast

## Slide 3: Google Oregon Warehouse Scale Computer

## Slide 4: Equipment Inside a WSC
Server (in rack format):
1 ¾ inches high “1U”, x 19 inches x 16-20 inches: 8 cores, 16 GB DRAM, 4x1 TB disk
7 foot Rack: 40-80 servers + Ethernet local area network (1-10 Gbps) switch in middle (“rack switch”)
Array (aka cluster): 16-32 server racks + larger local area network switch (“array switch”) 10X faster => cost 100X: cost f(N2)

## Slide 5: Server, Rack, Array

## Slide 6: Data warehouse?
If you have a Petabyte,
you might have a datacenter
If your paged at 3am because you only have a few Petabyte left,
you might have a data warehouse
Luiz Barroso (Google), 2009
The slide most likely to get out of date…

## Slide 7: Google Server Internals
Google Server
Notes: Most companies buy servers from the likes of Dell, Hewlett-Packard, IBM, or Sun Microsystems. But Google, which has hundreds of thousands of servers and considers running them part of its core expertise, designs and builds its own. Ben Jai, who designed many of Google's servers, unveiled a modern Google server before the hungry eyes of a technically sophisticated audience.
Google's big surprise: each server has its own 12-volt battery to supply power if there's a problem with the main source of electricity. The company also revealed for the first time that since 2005, its data centers have been composed of standard shipping containers--each with 1,160 servers and a power consumption that can reach 250 kilowatts.
It may sound geeky, but a number of attendees--the kind of folks who run data centers packed with thousands of servers for a living--were surprised not only by Google's built-in battery approach, but by the fact that the company has kept it secret for years. Jai said in an interview that Google has been using the design since 2005 and now is in its sixth or seventh generation of design.
Read more: http://news.cnet.com/8301-1001_3-10209580-92.html#ixzz0yo8bhTOH

## Slide 9: Microsoft’s Chicago Modular Datacenter
Notes: An exabyte is a datacenter, a million machines is a datacenter…..
24000 sq. m housing 400 containers
  Each container contains 2500 servers
  Integrated computing, networking, power, cooling systems
300 MW supplied from two power substations situated on opposite sides of the datacenter
Dual water-based cooling systems circulate cold water to containers, eliminating need for air conditioned rooms

## Slide 10: Some Differences Between Commodity DC Networking and Internet/WAN
Characteristic | Internet/WAN | Commodity Datacenter
Latencies | Milliseconds to Seconds | Microseconds
Bandwidths | Kilobits to Megabits/s | Gigabits to 10’s of Gbits/s
Causes of loss | Congestion, link errors, … | Congestion
Administration | Distributed | Central, single domain
Statistical Multiplexing | Significant | Minimal, 1-2 flows dominate links
Incast | Rare | Frequent, due to synchronized responses

## Slide 11: Coping with Performance in Array
 | Local | Rack | Array
Racks | -- | 1 | 30
Servers | 1 | 80 | 2400
Cores (Processors) | 8 | 640 | 19,200
DRAM Capacity (GB) | 16 | 1,280 | 38,400
Disk Capacity (GB) | 4,000 | 320,000 | 9,600,000
DRAM Latency (microseconds) | 0.1 | 100 | 300
Disk Latency (microseconds) | 10,000 | 11,000 | 12,000
DRAM Bandwidth (MB/sec) | 20,000 | 100 | 10
Disk Bandwidth (MB/sec) | 200 | 100 | 10
Lower latency to DRAM in another server than local disk
Higher bandwidth to local disk than to DRAM in another server

## Slide 12: Datacenter design 101
Naive topologies are tree-based
  same boxes, and same b/w links
  Poor performance
  Not fault tolerant
An early solution; speed hierarchy (fewer expensive boxes at the top)
  Boxes at the top run out of capacity (bandwidth)
  but even the $ boxes needed
    $$$ abilities (forwarding table size)
…
…
$$$
$$
$

## Slide 13: Data Center 102
Tree leads to FatTree
All bi-sections have same bandwidth
This is not the
only solution…
…

## Slide 14: Latency-sensitive Apps
Request for 4MB of data sharded across 16 servers (256KB each)
How long does it take for all of the 4MB of data to return?
14

## Slide 15: Timeouts Increase Latency
4MB
(256KB from 16 servers)
15
Responses delayed by 200ms TCP timeout(s)
Ideal
Response
Time
# of
occurrences

## Slide 16: Incast
TCP timeout
Worker 1
Worker 2
Worker 3
Worker 4
Aggregator
RTOmin = 300 ms
Synchronized mice collide.
  Caused by Partition/Aggregate.

## Slide 17: Applications Sensitive to 200ms TCP Timeouts
“Drive-bys” affecting single-flow request/response
Barrier-Sync workloads
  Parallel cluster filesystems (Incast workloads)
  Massive multi-server queries
    Latency-sensitive, customer-facing
17
The last result delivered is referred to as a straggler.
Stragglers can be caused by one off (drive-by) events but also by incast congestion which may occur for every map-reduce or database record retrieve or distributed filesystem read….

## Slide 18: Incast Really Happens
Requests are jittered over 10ms window.
Jittering switched off around 8:30 am.
Jittering trades off median against high percentiles.
99.9th percentile is being tracked.
MLA Query Completion Time (ms)
STRAGGLERS
Notes: 1. Incast really happens – see this actual screenshot from production tool
2. People care, they’ve solved it at application by jittering.
3. They care about the 99.9th percentile, 1-1000 customers

## Slide 19: The Incast Workload
Client
Switch
Storage Servers
R
R
R
R
1
2
Data Block
Server
Request Unit
(SRU)
3
4
Synchronized Read
Client now sends
next batch of requests
1
2
3
4
19

## Slide 20
Client
Switch
R
R
R
R
1
2
3
4
4
Synchronized Read
1
2
3
4
Server
Request Unit
(SRU)
4
Incast Workload Overfills Buffers
20
Requests Sent
Requests
Received
Responses 1-3 completed
Response 4
dropped
Response 4
Resent
Link Idle!

## Slide 21: Queue Buildup
Sender 1
Sender 2
Receiver
Big flows buildup queues.
  Increased latency for short flows.
Measurements in Bing cluster
  For 90% packets: RTT < 1ms
  For 10% packets: 1ms < RTT < 15ms

## Slide 22: Microsecond timeouts are necessary
22
Microsecond TCP
+ no RTO Bound
Unmodified TCP
No RTO Bound
High throughput sustained for up to 47 servers
More servers

## Slide 23: Improvement to Latency
All responses returned within 40ms
4MB
(256KB from 16 servers)
23
200ms RTO
Microsecond
RTO
# of
occurrences

## Slide 24: Link-Layer Flow Control Common between switches but this is flow-control to the end host too…
Another idea to reduce incast is to employ Link-Layer Flow Control…..
Recall: the Data-Link can use specially coded symbols in the coding to say “Stop” and “Start”

## Slide 25: Link Layer Flow Control – The Dark side Head of Line Blocking….
Waiting for no good reason….
Such HOL blocking does not even differentiate processes so this can occur between competing processes on a pair of machines – no datacenter required.

## Slide 26: Link Layer Flow Control But its worse that you imagine….
…
Double down on trouble….
Did I mention this is Link-Layer!
That means no (IP) control traffic, no routing messages….
a whole system waiting for one machine
Incast is very unpleasant.
Reducing the impact of HOL in Link Layer Flow Control can be done through priority queues and overtaking….

## Slide 27
K=4
Aggregation Switches
K Pods with
K Switches
each
Racks of
servers
Fat Tree Topology (Fares et al., 2008; Clos, 1953)
How to efficiently utilize the capacity?
Notes: What is the optimal load-balancing strategy?
27

## Slide 28
Collision
State of the Art (as discussed in Hedera)
Statically stripe flows across available paths using ECMP
ECMP: Equal Cost Multi-Path Routing is common in Data Centers but network ninjas may be required to configure it correctly…
Notes: What has been done in this space? Hedera paper discusses the state of the art in datacenters.
Mention that the bottom link is not utilized.

## Slide 29
How about mapping each flow to a different path?

## Slide 30
How about mapping each flow to a different path?

## Slide 31
Not fair
How about mapping each flow to a different path?

## Slide 32
Not fair
How about mapping each flow to a different path?
Mapping each flow to a path is the wrong approach!

## Slide 33
Instead, pool capacity from links
Notes: This is the key insight in this paper.

## Slide 34: Multipath TCP Primer (IETF MPTCP WG)
A drop in replacement for TCP
Spreads application data over multiple sub flows
- For each ACK on sub-flow r, increase the window wr by min(α/wtotal, 1/wr)
- For each loss on sub-flow r, decrease the window wr by wr/2
Notes: The challenging part is to do congestion control. The same group did congestion control for MPTCP which won the best paper award at NSDI 2011

## Slide 35: Performance improvements depend on traffic matrix
Overloaded
Underloaded
Sweet Spot
Increase Load

## Slide 36: DC: lets add some of redundancy The 3-layer Data Center
Reference – “Data Center: Load balancing Data Center Services”, Cisco 2004
CR
CR
AR
AR
AR
AR
. . .
S
S
DC-Layer 3
Internet
S
S
A
A
A
…
S
S
A
A
A
…
. . .
DC-Layer 2
Key
CR = Core Router (L3)
AR = Access Router (L3)
S = Ethernet Switch (L2)
A = Rack of app. servers
~ 1,000 servers/pod == IP subnet

## Slide 37: Understanding Datacenter Traffic
“Most flows in the data centers are small in size (<10KB)...”. In other words, elephants are a very small fraction.
Notes: All the results from this paper are from prolonged flows.

## Slide 38: Understanding Datacenter Traffic
Majority of the traffic in cloud datacenters stay within the rack.
Notes: Does this mean there is no need for load balancing schemes?

## Slide 39: Today, Computation Constrained by Network*
*Kandula, Sengupta, Greenberg,Patel
Figure: ln(Bytes/10sec) between servers in operational cluster
Great efforts required to place communicating servers under the same ToR  Most traffic lies on the diagonal (w/o log scale all you see is the diagonal)
Stripes show there is need for inter-ToR communication

## Slide 40: Network has Limited Server-to-Server Capacity, and Requires Traffic Engineering to Use What It Has
Data centers run two kinds of applications:
  Outward facing (serving web pages to users)
  Internal computation (computing search index – think HPC)
Internet
CR
CR
…
AR
AR
S
S
LB
LB
S
S
A
A
A
…
S
S
A
A
A
…
…
AR
AR
S
S
LB
LB
S
S
A
A
A
…
S
S
A
A
A
…
10:1 over-subscription or worse (80:1, 240:1)

## Slide 41: Congestion: Hits Hard When it Hits*
*Kandula, Sengupta, Greenberg, Patel

## Slide 42: No Performance Isolation
VLANs typically provide reachability isolation only
One service sending/receiving too much traffic hurts all services sharing its subtree
Internet
CR
CR
…
AR
AR
S
S
LB
LB
S
S
A
A
A
…
S
S
A
A
A
…
…
AR
AR
S
S
LB
LB
S
S
A
A
A
…
S
S
A
A
A
…
A
Collateral damage

## Slide 43: Flow Characteristics
Median of 10 concurrent flows per server
Most of the flows: various mice
Most of the bytes: within 100MB flows
DC traffic != Internet traffic

## Slide 44: Network Needs Greater Bisection BW, and Requires Traffic Engineering to Use What It Has
Data centers run two kinds of applications:
  Outward facing (serving web pages to users)
  Internal computation (computing search index – think HPC)
Internet
CR
CR
…
AR
AR
S
S
LB
LB
S
S
A
A
A
…
S
S
A
A
A
…
…
AR
AR
S
S
LB
LB
S
S
A
A
A
…
S
S
A
A
A
…
Dynamic reassignment of servers and Map/Reduce-style computations mean traffic matrix is constantly changing
Explicit traffic engineering is a nightmare

## Slide 45: What Do Data Center Faults Look Like?
Need very high reliability near top of the tree
  Very hard to achieve
    Example: failure of a temporarily unpaired core switch affected ten million users for four hours
  0.3% of failure events knocked out all members of a network redundancy group
Ref: Data Center: Load Balancing Data Center Services,
Cisco 2004
CR
CR
AR
AR
AR
AR
…
S
S
LB
LB
S
S
A
A
A
…
S
S
A
A
A
…
…

## Slide 46: Data Center: Challenges
From a large cluster used for data mining and identified distinctive traffic patterns
Traffic patterns are highly volatile
  A large number of distinctive patterns even in a day
Traffic patterns are unpredictable
  Correlation between patterns very weak

## Slide 47: Data Center: Opportunities
DC controller knows everything about hosts
Host OS’s are easily customizable
Probabilistic flow distribution would work well enough, because …
  Flows are numerous and not huge – no elephants!
  Commodity switch-to-switch links are substantially thicker (~ 10x) than the maximum thickness of a flow

## Slide 48: Sometimes we just wish we had a huge L2 switch (L2: data-link)
The Illusion of a Huge L2 Switch
1. L2 semantics
2. Uniform high capacity
3. Performance isolation
A
A
A
…
A
A
A
…
A
A
A
…
A
A
A
…
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A
A

## Slide 49: Fat Tree Topology (Fares et al., 2008; Clos, 1953)
K=4
1Gbps
1Gbps
Aggregation Switches
K Pods with
K Switches
each
Racks of
servers
Hard to construct
Expensive & Complex
Notes: 49

## Slide 50: B-Tree Topology (Guo et al., 2009)
BCube
Modular!
but… hard to expand 
hard to interconnect modules

## Slide 51: An alternative: hybrid packet/circuit switched data center network
51
Goal of this work:
  Feasibility: software design that enables efficient use of optical circuits
  Applicability: application performance over a hybrid network
Notes: 51

## Slide 52: Optical Circuit Switch
2010-09-02 SIGCOMM
Nathan Farrington
52
Lenses
Fixed
Mirror
Mirrors on Motors
Glass Fiber
Bundle
Input 1
Output 2
Output 1
Rotate Mirror
Does not decode packets
Needs take time to reconfigure
Notes: 52

## Slide 53: Optical circuit switching v.s. Electrical packet switching
 | Electrical packet switching | Optical circuit switching
Switching technology | Store and forward | Circuit switching
Switching capacity |  | 
Switching time |  | 
Switching traffic |  | 
53
16x40Gbps at high end
e.g. Cisco CRS-1
320x100Gbps on market, e.g. Calient FiberConnect
Packet granularity
Less than 10ms
For bursty, uniform traffic
For stable, pair-wise traffic
Notes: 53

## Slide 54: Hybrid packet/circuit switched network architecture
Optical circuit-switched network for high capacity transfer
Electrical packet-switched network for low latency delivery
Optical paths are provisioned rack-to-rack
  A simple and cost-effective choice
  Aggregate traffic on per-rack basis to better utilize optical circuits
Notes: 54

## Slide 55: Design requirements
55
Control plane:
  Traffic demand estimation
  Optical circuit configuration
Data plane:
  Dynamic traffic de-multiplexing
  Optimizing circuit utilization (optional)
Traffic demands
Notes: 55

## Slide 56: An alternative to Optical links: Link Racks by radio (60GHz gives about 2Gbps at 5m)

## Slide 57: CamCube
Nodes are commodity x86 servers with local storage
  Container-based model 1,500-2,500 servers
Direct-connect 3D torus topology
  Six Ethernet ports / server
  Servers have (x,y,z) coordinates
    Defines coordinate space
  Simple 1-hop API
    Send/receive packets to/from 1-hop neighbours
    Not using TCP/IP
Everything is a service
  Run on all servers
Multi-hop routing is a service
  Simple link state protocol
  Route packets along shortest paths from source to destination
(0,2,0)
x
y
z
Two Downsides (there are others):
complex to use (programming models…)
messy to wire…

## Slide 58: MRC2: A new data center approach
Notes: Today’s system--
- Centralised switches mean common points of failure, poor energy use, poor topology alignment with compute tasks
- Few, if any, primitives for distributed containment; primary tools are host-oriented security or “ACLs”.
- Data flow analysis for large-scale applications maps poorly into both communications topology and security enforcement
Other topologies possible -- but same ingredients

## Slide 59
New resource-aware programming framework
Distributed switch fabric: no buffer and smaller per-switch radix
Distributed switch
Fabric:
Use-proportional
Use-Proportional MAC
Zero Mbps = Zero watts
Smarter Transport protocols for minimized disruption
Better characterization for better SLA prediction
Notes: * CIEL – not in INTERNET, but by being close to the objective of the code (dataflow) we can setup the right network in the DC first time. (that’s the reason its in red – not this project)
* We focus on a small-radix switch per host; this enables complex data-flow specific networks AND, while the prototype will not be built this way, we could consider small-radix SOA-based optical switches (*** this may come as a surprise to IHW ***
) – removing any latency and creating the ultimate cut-through switch (and removing any latency incurred by the fabric-based routing, as well as removing any power required for intermediate stage buffering)
Smarter protocols for minimized disruption (this is what Toby will talk-to)
Characterizing migration SLA = Sherif’s work. (delete as you wish ;-)
Power-proportional MAC - one that has no idle and uses no power when unused (this is what Yury will talk-to)
Distributed switch Fabric – if the nodes are not in use, the switch can be powered off; a much higher fidelity than “port/tray/chassis regimes currrently as the affinity is host-centric not switch centric)
(control infrastructure could be openflow… or some other Software Defined Network…)

## Slide 60: Other problems Special class problems/Solutions?
Datacenters are computers too…
What do datacenters to anyway?
Special class problems
Special class data-structures
Special class languages
Special class hardware
Special class operating systems
Special class networks ✔
Special class day-to-day operations

## Slide 61
Google Oregon Warehouse Scale

## Slide 62: Thermal Image of Typical Data Centre Rack
Rack
Switch
M. K. Patterson, A. Pratt, P. Kumar, “From UPS to Silicon: an end-to-end evaluation of datacenter efficiency”, Intel Corporation
Notes: What is wrong with this picture???
All the servers are using the same amount of energy
And the switch is using TONNES

## Slide 63: DC futures
Warehouse-Scale Computing: Entering the Teenage Decade
Luiz Barroso (Google)
ISCA Keynote 2011
http://dl.acm.org/citation.cfm?id=2019527
It’s a video. Watch it.

## Slide 64
L. Barroso’s excellent ISCA2011 keynote – go watch it! http://dl.acm.org/citation.cfm?id=2019527
1-byte message, round-trip time
Sample
Are the systems we used for the WAN
appropriate for the datacenter?
Software stacks for milliseconds are not good enough for microseconds
- Just ask the High Frequency Traders…
Probably not.
Notes: just RDMA…
split the binary…
dispatch
interupts
TCP
RPC

## Slide 65
Fancy doing somet exciting computer science? at 10Gbps? 40Gbps? 240Gbps?
Talk to me.
Notes: Yep – an Advert!!!